INTERNATIONAL ATOMIC ENERGY AGENCY

SAFRAD

PATIENT DATA COLLECTION FORM

For the coordinator

Please provide complete information

HOSPITAL

FACILITY/DEPARTMENT:

ROOM ID

--------------------------------------------------------------------------------------------------------------------------

Staff: Specialty of physician: 	Interventional Radiologist □		 Cardiologist □

Senior MD □		Junior MD □	 Other: ……………………………………..

Current procedure:

Subjective rating of procedure: 	simple □ 	normal□ 	difficult □

Date of procedure: …………………………………………….

Patient data:

Patient name: ………………………………………………… 	Patient ID: ………………………

Patient weight: …………………kg					Patient height: …………………… m

Patient date of birth: ……………………….				Gender: 	 M□	           F □

Radiation sensitivity-enhancing conditions: diabetes □	connective tissue disease □	other ……

Date and name of previous procedures:

………………....		……………………………………………………………………

………………....		……………………………………………………………………

………………....		……………………………………………………………………

Technical factors	 :

kV range during procedure :	…………………		kV low □	kV high □

Presence of grid:		Y □		N □

Beam filtration: ………………………………….

Fluoroscopy pulse frequency: ………………………	p/s

Dose settings: low □		normal □		high □

High quality □	high noise □

Collimation: manual □		electronic □		None □

Use of filters: Y □	N □

Field-of–view (electronic magnification)		…………….. cm or zoom ………………………

SSD (Source to skin distance): ……………………….. cm

SRD (source to image receptor distance): ……………………….. cm

Dose markers :

Fluoroscopy time: 	…………………….. min

Total KAP (DAP) value: ……………Gy.cm2  □ cGy.cm2  □ µGy.m2  □ mGy.cm2  □ dGy.cm2  □

Cumulative Air Kerma (or Dose) at Interventional Reference Point : ………………….. Gy

Peak Skin Dose, (if known): ……………………………………. Gy

Number of series: ………………………..

Number of frames (if known): …………………………..

Procedure time (from start to end): ……………………… min

Trigger events:

Procedure carried out on a wrong patient					□

Wrong procedure carried out							□

Procedure carried out on a pregnant patient (unkown pregnancy)	□

Multiple procedures on the same patient within 1 month			□